DIGILOCK DK-ST SERIES LOCK SPECIFICATION

- Applies to DK-STS and DK-STV models

PART 1 – GENERAL

1.1  SUMMARY

Furnish Digilock electronic locks for installation on lockers, cabinets or containers as shown or indicated on approved drawings.

1.2  SUBMITTALS

Provide in accordance with submittal procedures:

Locks:  Product data for locks including lock type, orientation, lock interface, quantities and all necessary details related to mounting instructions.

Lock Management:  Indicate lock management by key or code and required number of keys to be delivered directly to owner’s representative.

PART 2 – PRODUCTS

  - MANUFACTURER:

Digilock, 9 Willowbrook Court, Petaluma, CA 94954; 707-766-6000; Distributor www.digilock.ie.Requests to use equivalent products of other manufacturers shall be submitted in accordance with Product Substitution Procedures and may be approved provided they meet the detailed written specifications below.

  - LOCKSET:

2.2.1 Type:  The lock shall be a Digilock STS series keypad operated electronic lock.

2.2.2 Materials:  The lock’s front module containing the keypad shall not be larger than 2.14”(w) x 2.86”(h) with a receptacle for the management bypass key and shall carry an architectural finish of U.S. BHMA 619 (brushed nickel). The lock shall contain an LED light for visual feedback and a device for audible feedback.

–OPTION 1: Finish shall be U.S. BHMA 605 (brass), 601 (black), or 643 (bronze).

–OPTION 2: Lock body shall be vertically oriented, 1.37”(w) x 3.92”(h) Digilock STV series.

–OPTION 3: Lock body shall include an integral pull handle.

2.2.3 Mounting:  The lock shall consist of two modules with the front module containing the keypad and the rear module containing the 3/8” spring bolt.  The front and rear modules shall contain a built-in connector capable of mating when the modules are installed on the door. The front module shall be surface-mounted on the outside of the door. The rear module shall be mounted on the inside of the door placing the door in between the two modules.

–OPTION: The front module shall be manufactured for recess mounting of the lock in a shape allowing the front of the lock to sit recessed within the door.

The two modules shall be connected to one another through an opening on the door with their built-in connector and secured to one another via two screw posts and two locking nuts.

–OPTION:  For greater door thicknesses (surface mount greater than .48” and recess mount greater than .85”), the two modules shall be secured to one another by two nut posts and washers.

2.2.4 Operation:  The lock shall be operated by a user selected four-digit code, an electronic ADA compliant user key or an electronic manager bypass key.  Entry of a valid code or key shall operate the lock by throwing and retracting the bolt. The lock shall remain unlocked until another code/ key is entered to lock.  When locked, the LED shall emit a flashing red light to indicate use.  The lock shall emit audio feedback in the case of each keypad stroke, entry of valid/invalid code, low battery and binding.

The electronic bypass keys shall be registered to the lock with an electronic programming key that is unique to the lock/system. The lock shall automatically lock-out for one minute after three consecutive entries of invalid operating codes/keys. In case the user code is forgotten, entry of the electronic bypass key or programming key shall unlock the lock.

2.2.5 Power Source:  The lock shall be powered by two 9-volt batteries included with and housed in the rear module of the lock. The lock shall work stand-alone without wiring from another lock or central processor.  The batteries shall last a minimum of 3 years with 10 operations per day.  In case of battery failure, entry of the electronic bypass key or programming key shall provide external power to the lock.

PART 3 – EXECUTION

3.1 DELIVERY AND INSTALLATION

Deliver locks in manufacturer’s original, labeled cartons. Locks must be installed in accordance with manufacturer’s approved drawings and assembly instructions. Installation shall be level such that lock operates without binding.

3.2 PROGRAMMING

Upon completion of installation, inspect locks for proper operation with factory default code. Transfer programming key and manager bypass key(s) to owner.

3.3 QUALITY ASSURANCE

Digilock reserves the right to modify the design and/or function of lock and change specifications to maintain compliance with corporate quality assurance polices.